{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet0"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet0","index":0,"n_rows":24,"n_cols":9,"rows_kept":24,"cut":false,"hidden":false,"merged":[]}
["日期","实时干球","目标干球","实时湿球","目标湿球","控制棚","阶段","操作","h_object"]
["2025-07-07 03:54:21","26.80","36.00","26.60","34.00","下棚","1","","01 14 56 53 06 01 32 43 9D 42 0F 5A 0F 55 F7 6E 09 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 16 01 0D 01 0C 01 0A 00 DD 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 62 19 7D"]
["2025-07-07 03:54:08","26.70","36.00","26.60","34.00","下棚","1","","01 14 56 53 06 01 F2 42 9D 42 0F 5A 0F 55 F7 6E 09 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 14 01 0D 01 0B 01 0A 00 DD 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 77 CA"]
["2025-07-07 03:53:28","26.60","36.00","26.50","34.00","下棚","1","","01 14 56 53 06 01 B2 42 5D 42 0F 5A 0F 55 F5 6E 09 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 00 00 01 00 01 0D 01 0C 01 0A 01 09 00 DD 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 3B 9C"]
["2025-07-07 02:43:52","28.10","36.00","28.60","34.00","下棚","1","","01 14 56 53 06 01 72 46 9D 47 0D 5A 0A 55 F3 72 07 08 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2C 01 2A 01 19 01 1E 00 E5 00 00 00 03 00 03 01 68 01 54 00 00 00 00 00 24 00 64 BF B5"]
["2025-07-07 02:19:49","28.10","36.00","28.70","34.00","下棚","1","","01 14 56 53 06 01 72 46 DD 47 0D 5A 0A 55 C3 71 01 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2A 01 2B 01 19 01 1F 00 E3 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 B7 DD"]
["2025-07-07 02:03:47","28.00","36.00","28.80","34.00","下棚","1","","01 14 56 53 06 01 32 46 1D 48 0D 5A 0A 55 23 72 04 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2C 01 2C 01 18 01 20 00 E4 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 D2 15"]
["2025-07-07 01:55:46","28.10","36.00","28.90","34.00","下棚","1","","01 14 56 53 06 01 72 46 5D 48 0D 5A 0A 55 93 72 05 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2D 01 2D 01 19 01 21 00 E5 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 CF 7D"]
["2025-07-07 01:47:45","28.30","36.00","29.10","34.00","下棚","1","","01 14 56 53 06 01 F2 46 DD 48 0D 5A 0A 55 83 71 06 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2D 01 2E 01 1B 01 23 00 E3 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 75 65"]
["2025-07-07 01:39:44","28.40","36.00","29.10","34.00","下棚","1","","01 14 56 53 06 01 32 47 DD 48 0D 5A 09 55 EB 71 07 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 30 01 2F 01 1C 01 23 00 E3 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 B5 08"]
["2025-07-07 01:31:43","28.60","36.00","29.30","34.00","下棚","1","","01 14 56 53 06 01 B2 47 5D 49 0D 5A 09 55 DB 72 09 0A 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 30 01 2F 01 1E 01 25 00 E5 00 00 00 02 00 02 01 68 01 54 00 00 00 00 00 24 00 64 F8 5A"]
["2025-07-07 01:15:41","28.90","36.00","29.40","34.00","下棚","1","","01 14 56 53 06 01 72 48 9D 49 0D 5A 09 55 3B 73 01 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 30 01 2F 01 21 01 26 00 E6 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 66 6F"]
["2025-07-07 01:07:41","29.10","36.00","29.60","34.00","下棚","1","","01 14 56 53 06 01 F2 48 1D 4A 0D 5A 09 55 AB 72 03 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 31 01 2F 01 23 01 28 00 E5 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 24 67"]
["2025-07-07 12:59:39","29.20","36.00","29.70","34.00","下棚","1","","01 14 56 53 06 01 32 49 5D 4A 0D 5A 09 55 9B 73 04 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 34 01 2F 01 24 01 29 00 E7 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 D2 7D"]
["2025-07-07 12:51:39","29.20","36.00","29.60","34.00","下棚","1","","01 14 56 53 06 01 32 49 1D 4A 0D 5A 09 55 0B 73 05 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 33 01 2D 01 24 01 28 00 E6 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 9D DF"]
["2025-07-07 12:43:37","29.10","36.00","29.60","34.00","下棚","1","","01 14 56 53 06 01 F2 48 1D 4A 0D 5A 08 55 F3 72 07 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 32 01 2B 01 23 01 28 00 E5 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 17 16"]
["2025-07-07 12:35:37","29.00","36.00","29.50","34.00","下棚","1","","01 14 56 53 06 01 B2 48 DD 49 0D 5A 08 55 63 73 08 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 32 01 2A 01 22 01 27 00 E6 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 7A 8B"]
["2025-07-07 12:27:35","28.80","36.00","29.40","34.00","下棚","1","","01 14 56 53 06 01 32 48 9D 49 0D 5A 08 55 53 74 09 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2F 01 28 01 20 01 26 00 E8 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 64 24 32"]
["2025-07-07 12:11:33","28.40","36.00","29.00","34.00","下棚","1","","01 14 56 53 06 01 32 47 9D 48 0D 5A 08 55 33 76 02 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2B 01 23 01 1C 01 22 00 EC 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 48 8C"]
["2025-07-07 12:03:32","28.30","36.00","28.80","34.00","下棚","1","","01 14 56 53 06 01 F2 46 1D 48 0D 5A 08 55 23 75 03 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 28 01 20 01 1B 01 20 00 EA 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 49 E1"]
["2025-07-07 11:55:30","28.30","36.00","28.80","34.00","下棚","1","","01 14 56 53 06 01 F2 46 1D 48 0D 5A 08 55 13 74 04 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 26 01 1E 01 1B 01 20 00 E8 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 F2 B9"]
["2025-07-07 11:47:29","28.10","36.00","28.50","34.00","下棚","1","","01 14 56 53 06 01 72 46 5D 47 0D 5A 08 55 03 74 06 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 23 01 1B 01 19 01 1D 00 E8 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 58 20"]
["2025-07-07 11:39:28","27.90","36.00","28.30","34.00","下棚","1","","01 14 56 53 06 01 F2 45 DD 46 0D 5A 07 55 6B 74 07 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 1E 01 19 01 17 01 1B 00 E8 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 97 86"]
["2025-07-07 11:31:28","27.90","36.00","28.10","34.00","下棚","1","","01 14 56 53 06 01 F2 45 5D 46 0D 5A 07 55 5B 73 08 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 1B 01 17 01 17 01 19 00 E6 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 2B 45"]