{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet0"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet0","index":0,"n_rows":14,"n_cols":9,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
["日期","实时干球","目标干球","实时湿球","目标湿球","控制棚","阶段","操作","h_object"]
["2025-07-21 02:52:07","32.50","36.00","32.00","34.00","下棚","1","","01 14 56 53 06 01 72 51 1D 50 2B 5A 0E 55 5D 72 08 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 41 01 3D 01 45 01 40 00 E4 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 61 99 6A"]
["2025-07-21 02:52:04","32.40","36.00","32.10","34.00","下棚","1","","01 14 56 53 06 01 32 51 5D 50 2B 5A 0E 55 DD 71 08 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 41 01 3D 01 44 01 41 00 E3 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 62 38 76"]
["2025-07-21 02:51:53","32.30","36.00","32.10","34.00","下棚","1","","01 14 56 53 06 01 F2 50 5D 50 2B 5A 0E 55 5D 72 08 0C 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 41 01 3C 01 43 01 41 00 E4 00 00 00 01 00 01 01 68 01 54 00 00 00 00 00 24 00 63 52 F2"]
["2025-07-21 02:28:47","31.90","36.00","31.70","34.00","下棚","1","","01 14 56 53 06 01 F2 4F 5D 4F 2B 5A 0E 55 2F 72 02 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 40 01 39 01 3F 01 3D 00 E4 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 63 4D B7"]
["2025-07-21 02:20:34","31.80","36.00","31.60","34.00","下棚","1","","01 14 56 53 06 01 B2 4F 1D 4F 2B 5A 0E 55 1F 72 03 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 3E 01 38 01 3E 01 3C 00 E4 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 63 3A C9"]
["2025-07-21 02:07:56","31.40","36.00","31.40","34.00","下棚","1","","01 14 56 53 06 01 B2 4E 9D 4E 2B 5A 0E 55 85 72 05 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 3B 01 35 01 3A 01 3A 00 E5 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 46 A0"]
["2025-07-21 02:07:42","31.40","36.00","31.40","34.00","下棚","1","","01 14 56 53 06 01 B2 4E 9D 4E 2B 5A 0E 55 85 72 05 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 3B 01 35 01 3A 01 3A 00 E5 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 46 A0"]
["2025-07-21 02:04:31","31.40","36.00","31.30","34.00","下棚","1","","01 14 56 53 06 01 B2 4E 5D 4E 2B 5A 0D 55 77 72 06 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 3B 01 35 01 3A 01 39 00 E4 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 2F 84"]
["2025-07-21 01:56:29","31.20","36.00","31.10","34.00","下棚","1","","01 14 56 53 06 01 32 4E DD 4D 2B 5A 0D 55 67 73 07 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 39 01 34 01 38 01 37 00 E6 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 58 03"]
["2025-07-21 01:48:31","30.90","36.00","31.00","34.00","下棚","1","","01 14 56 53 06 01 72 4D 9D 4D 2B 5A 0D 55 57 73 08 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 36 01 33 01 35 01 36 00 E6 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 F6 AA"]
["2025-07-21 01:39:35","30.30","36.00","30.40","34.00","下棚","1","","01 14 56 53 06 01 F2 4B 1D 4C 2B 5A 0D 55 C5 74 09 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 00 00 01 00 01 2F 01 30 01 2F 01 30 00 E9 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 A2 79"]
["2025-07-21 12:28:14","29.80","36.00","29.80","34.00","下棚","1","","01 14 56 53 06 01 B2 4A 9D 4A 0D 5A 08 55 15 78 03 0E 14 24 01 01 01 00 01 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 01 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 2B 01 33 01 2A 01 2A 00 F0 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 BA 8A"]
["2025-07-21 11:56:11","29.40","36.00","29.40","34.00","下棚","1","","01 14 56 53 06 01 B2 49 9D 49 0D 5A 07 55 CD 77 08 0E 14 20 01 01 01 00 01 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 00 01 00 00 00 01 00 01 00 00 00 01 28 01 30 01 26 01 26 00 EF 00 00 00 00 00 00 01 68 01 54 00 00 00 00 00 24 00 64 B6 34"]